Annex A — BIM Protocol

Contractual BIM and information-management obligations. Forms part of the Professional Services Agreement.

Project: {{PROJECT_NAME}}   ·   Code: {{CODE}}   ·   Client: {{CLIENT}}   ·   Address: {{ADDRESS}}

Author / Lead Appointed Party: {{AUTHOR}}   ·   Version {{DOC_VERSION}}   ·   Date: {{DOC_DATE}}   ·   Container: {{CODE}}-{{OR}}-XX-RP-0003_BIM-Protocol

This BIM Protocol is Annex A to the Professional Services Agreement ({{CODE}}-{{OR}}-XX-RP-0002). In case of conflict on information-management matters, the priority order is: Agreement → this Protocol → information production requirements (0001 EIR) → BEP.

Working protocol: MC applies the publicly verifiable direction of ISO/DIS 19650-1 and ISO/DIS 19650-2 (2026 drafts) to project information management. ISO 19650-1:2018 and ISO 19650-2:2018 remain the published references until replaced. The appointment and applicable national adoption determine contractual obligations. Generation does not constitute review, authorization, acceptance or certification.

1. Purpose

To establish the contractual obligations of the Parties regarding the production, exchange and management of information for project {{PROJECT_NAME}}, in accordance with the editions identified in the appointment and the project working protocol.

2. Definitions

- Appointing Party — {{CLIENT}}, the client commissioning the information.

- Lead Appointed Party — {{AUTHOR}}, coordinating delivery of information.

- Appointed Party — any party delivering information (internal task teams; external AR/GE).

- CDE — Common Data Environment; the single source of information for the project.

- Information container — a named set of information (model, drawing, report, schedule).

3. Standards and references

- ISO 19650-1:2018 — published concepts and principles reference.

- ISO 19650-2:2018 — published delivery-phase reference.

- ISO 19650-5 — security-minded approach (if the project is designated sensitive).

- ISO 7817-1:2024 — level of information need.

- {{OR}} information production standard ({{CODE}}-{{OR}}-XX-RP-0004) — modelling standard.

4. Roles and responsibilities

Roles are functions, not job titles; one person may hold several. For this project the Lead Appointed Party ({{OR}}) holds the Information Manager, BIM Manager and BIM Coordinator functions, and the modelling and calculation functions for the disciplines in scope. The full mapping is in the BEP Section E.

| Function | Holder |
| --- | --- |
| {{ROW_ROLE}} | {{ROW_PERSON}} |